## Slide 1
AMS Capitol Hill Briefing on Seasonal Forecasting
Nick Keener, Director of Meteorology

## Slide 2: Business Segments
  Regulated generation, electric and gas transmission distribution systems
Duke Energy Carolinas
Duke Energy Progress
Duke Energy Indiana
Duke Energy Ohio/Kentucky
Duke Energy Florida
Duke Energy Renewables
Commercial Businesses
Commercial Power
Duke Energy International (primarily Latin American assets)
International Energy
Regulated Utilities
Coal 38%
Natural Gas/Fuel Oil 38%
Nuclear 17%
Hydro/Renewables 7%
Regulated Utilities (percent owned capacity)
Chart: 
Sales | 40 | 36 | 16 | 8

## Slide 3: Regulated Utilities
Largest business segment and primary source of earnings growth
6 states: North Carolina, South Carolina, Florida, Indiana, Ohio, Kentucky
95,000 square miles of service area
49,600 MW of generation capacity
7.3 million retail electric customers
500,000 retail natural gas customers
Renewable and energy efficiency programs

## Slide 4: Commercial Businesses
Duke Energy Renewables
  Approximately 1,800 MW of wind and solar projects operating in 12 states
  Significant pipeline of development projects
  Since 2007, invested more than $3 billion to grow wind and solar business
4

## Slide 5: Commercial Businesses
Duke Energy International
Owns approximately 4,300 gross MW of electric generation outside the U.S.
Operations located in Latin American countries of Argentina, Brazil, Chile, Ecuador, El Salvador, Guatemala and Peru
Approximately two-thirds of DEI’s generating capacity is hydroelectric
Equity investment in National Methanol Co., a Saudi Arabian regional producer of MTBE, a gasoline additive
5

## Slide 6: Daily to Seasonal Operational Uses of Weather Forecasts/Data
Generation System Dispatch/Load Forecasting-Energy Demand
Precipitation Forecast for Daily Hydro Planning/Dispatch
Renewables – Solar/Wind
Fuel Supply
Storm Prediction – Resource modeling for storm impacts
Extreme weather impacts for generation planning/maintenance and grid operations
Transmission Line ratings
High bill analysis
Earnings
Monthly and seasonal forecasts for system planning/operations-Generation Outage scheduling
Thermal modeling

## Slide 7: Hydroelectric Impacts from Drought

## Slide 8: 2003 Above Normal Eastern Precipitation

## Slide 9: Rainfall and Hydro-Generation
Chart: Generation and Rainfall Variation Duke Energy Carolinas Catawba Basin
| 2003.0 | 2007.0
Megawatts | 2800000 | 1400000
Rainfall (in) | 48 | 28.5

## Slide 10: Renewables and Seasonal Weather Trends
Seasonal weather trends will become increasingly important as Renewable Energy expands.
Regional long term cloudy/stormy patterns will impact solar generation.
Large scale ridge patterns may impact wind generation
Close correlation with hydro-power and droughts

## Slide 11: Wind Energy Seasonal Impacts
Bloomberg Magazine 9/1/2015:

## Slide 12: Seasonal Hurricane Variation

## Slide 13: Winter Storms

## Slide 14: Plant Maintenance Planning Extreme Cold

## Slide 15: Plant Maintenance Planning Extreme Heat